[HS12SP](http://www.digikey.ca/product-detail/en/amphenol-advanced-sensors/HS12SP/HS12SP-ND/4780894): Thermometric Relative Humidity Sensor

*Polymer based relative humidity sensor for humidity monitors and controllers, air conditioners, humidifiers and dehumidifiers, automatic ventilation.*

# *Relevant Electrical Specifications*

## Rated Working Voltage

AC 1 V (50 Hz ~ 1 kHz)

## Rated Power

0.3 mW

## Nominal Impedance

60 kΩ ± 30 kΩ

# *Typical Humidity Curve*

